## Slide 1
10/02/2012
Slide 1
Consideration of Adding AMI to Distribution Transformers
Prepared by John Kretzschmar, SAMSCO
Spartan Armstrong Metering Supply Company
For North Carolina Electric Meter School
Management Session
Tuesday, June 14, 2022 at 8:45 am.
Notes: 1

## Slide 2
10/02/2012
Slide 2
Intra-Grid Sensors and ATI for Distribution Transformers
Prepared by John Kretzschmar, SAMSCO
Spartan Armstrong Metering Supply Company
For North Carolina Electric Meter School
Management Session
Tuesday, June 14, 2022 at 8:45 am.
Notes: 2

## Slide 3
A sensor used to provide detailed information about conditions that exist between the distribution transformer and the meter.
What is an Intra-Grid Sensor?

## Slide 4
We are now stressing grid assets with increased unplanned burden and never previously conceived pressures.
Yet operators are still without comprehensive data that will accurately reveal the intra-grid dynamics created by these changes.
Why do we need Intra-Grid Sensors?

## Slide 5
Through solar and wind renewables, we are introducing Reverse Energy onto the distribution grids.
The millions of existing transformers were not designed to handle this impact.
While renewables are beneficial, Reverse Energy can produce unstable, and unsafe grid conditions.
Distributed Energy Resources (DER)

## Slide 6
Intra-grid sensors accurately measure and report Reverse Energy, and its impacts on the grid.
Utilities without AMI, or “smart meters” need intra-grid sensors to understand the Reverse Energy impacts inside their grid.
Utilities with AMI need intra-grid sensors to understand Reverse Energy impacts on transformers.
Distributed Energy Resources (DER)

## Slide 7
The reality is that AMI generated Reverse Energy data does not accurately indicate impacts on transformers or the resulting grid impacts.
AMI data is typically not accurately aligned to the upstream transformers due to pervasive GIS mapping errors, thus causing aggregated AMI data to be unreliable.
Distributed Energy Resources (DER)

## Slide 8
Even though utilities are pre-notified of Distributed Energy Resources installations, operators are still uncertain of potentially serious and/or dangerous impacts on upstream assets since AMI intra-grid data is unreliable.
Distributed Energy Resources (DER)

## Slide 9
Reverse Energy creates new instances of unknown and unplanned voltage fluctuations/conditions. This contributes to potentially unstable and unsafe grid conditions.
Safety for the public at-large is key, but so too is the safety of utility linemen who are increasingly at risk due to the unanticipated voltage levels being created by Distributed Energy Resources (DER).
Reverse Energy

## Slide 10
AMI-deployed utilities might think they know Reverse Energy impacts, the truth is they typically do not possess accurate AMI-to-transformer information.
This can leave linemen in a position of not knowing what to expect when they approach DER-active transformers.
Reverse Energy

## Slide 11
Electric Vehicle charging stations create a new, unplanned load on transformers. Each charging station has the capability of adding up to one additional home worth of power load on a transformer.
This unplanned loading impacts transformers and may exceed a transformer’s designed capacity causing major problems.
Electric Vehicles

## Slide 12
Illegal marijuana grow houses commonly steal significant levels of power from the grid.
Theft occurs simply by tapping power lines in front of the meters.
No endpoint meter (including AMI smart meters) can effectively detect pre-meter power theft.
This means thieves steal as much power as they want, and they steal it indefinitely without fear of detection.
Illegal Marijuana Production

## Slide 13
When jurisdictions legalize marijuana, significant unplanned loading hits the respective transformers and the grid.
Legalization permits, in some ways encourages residents to grow marijuana using power-intense hydroponic resources. This unanticipated reality then causes additional strain on the existing transformers and the grid.
Legalized Marijuana

## Slide 14
According to the US Department of Energy, the average age of existing distribution grid transformer is presently in the range of 38-42 years.
The average projected life span of transformers is typically 40 years so many transformers are nearing or have already eclipsed their intended life span, yet we demand more performance, reliability, and various unintended service capabilities.
Aging Assets

## Slide 15
Intra-grid sensors proactively reveal over-burdened and failing transformer assets allowing operators to effectively enable preventive maintenance efforts.
This approach enables operators to transition away from costly and disruptive, reactive grid management practices.
Aging Assets

## Slide 16
Despite significant Smart Meter penetration, power theft is a perpetual problem. Industry experts suggest that U.S. power theft is in excess of $6 Billion per year.
The locations of power theft is typically a mystery. If the affected overburdened transformers finally fail, utility operators then learn where the theft is occurring.
Power Theft

## Slide 17
Smart Meters claim to lessen power theft but the reality is that power theft has increased.
Thieves have discovered that since utility personnel are no longer coming onto their property, they can tap power lines ahead of the meter and the diversion will go undetected indefinitely.
Power Theft

## Slide 18
An incorrectly programmed meter can result in significant errors.
For example: a meter programmed for a 200:5 transformer but has a 400:5 transformer will significantly misreport usage.
Meter Programming Issues

## Slide 19
Energy generated by Power Station does not match energy distributed to the consumers.
The difference between generated and distributed energy is known as Transmission and Distribution loss; aka system loss.
System loss is the energy that is generated but not paid for by users.
What are system losses?

## Slide 20
According to US Energy Information Administration reports, nearly 200 Billion unmetered kWh’s are ‘leaked’ from US distribution grids annually.
This loss represents nearly $21 Billion that was unmetered but was amortized as electricity cost across US rate payer’s bills.
All of this while our government, utilities, and rate payers have been investing billions of dollars in ‘smart meters’, and other energy efficiency efforts.
Line Loss

## Slide 21
Electricity is ‘leaking’ from within the US distribution grid in front of the AMI/AMR meters at costly levels.
To a large extent, electricity providers have been unable to accurately identify where power leaks have been occurring within the grid.
Intra-grid power loss is substantial and is occurring daily.
Line Loss

## Slide 22
Electric distribution grids do not have adequate sensor technology and analytic capabilities to allow operators to directly reduce system losses.
As a result, a blind spot exists between the substation SCADA and the AMI meter.
Intra-Grid Sensors can provide visibility into this critical area.
Line Loss

## Slide 23
The Next Step in Grid Modernization
Advanced Transformer Infrastructure (ATI)
Reliability Improvements
DER & EV Integration
Fire Mitigation
Outage Notification
Voltage Optimization

## Slide 24
Advanced Transformer Infrastructure
GUI
API

## Slide 25
Advanced Transformer Infrastructure

## Slide 26
Advanced Transformer Infrastructure
ATI Head-End

## Slide 27
Advanced Transformer Infrastructure
:
Outage Notification

## Slide 28
Advanced Transformer Infrastructure
Forward & Reverse Energy Impacts
The combination of excessive Delivered & Received Energy can cause Transformer Overload and Premature Failure (i.e., accelerated End of Life & potential Asset Fires)
ATI Systems can also deliver:
Transformer Overload Awareness = Preventive Intervention
Asset Fires/Wildfires Prevention = Reduces Liability Risk
Improved Lineman & Public Safety = Reduces Liability Risk

## Slide 29
Advanced Transformer Infrastructure

## Slide 30
Advanced Transformer Infrastructure

## Slide 31
Advanced Transformer Infrastructure
*Achieve Reliability Improvement
*Provide Outage Notifications to Accelerate Restoration
*Reveal Unplanned Loading/Overloading
*Facilitate Improved Fire/Wildfire Mitigation
*Identify Downed Conductor Events
*Proactively Identify Failing Assets
*Reveal DER-Induced Voltage Fluctuations
*Reveal & Document Reverse Energy Entering the Grid
*Facilitate Conservation Voltage Reduction
*Identify Power Theft, Meter Inaccuracies & Bad Multipliers
*Facilitate Safe EV Charging Station & DER Adoption
*Identify Improper Tap Settings

## Slide 32
Advanced Transformer Infrastructure
*Identify Harmful Phase Imbalances
*Identify Energy Inefficiencies
*Assist with Clean Energy/Battery Storage Planning
*Reveal GIS Mapping Errors
*Provide Automated Alerts = Hands Free Remote Grid Monitoring
*Support API Calls
*Enhance Microgrids Monitoring
*Facilitate Clean Energy Mandates = Reduce GHG Emissions
*Reduce Corporate Liability Risk

## Slide 33: Questions?
John Kretzschmar
SAMSCO
Spartan Armstrong Metering Supply Company
Boiling Springs, SC 29316
john@samscometering.com
864.590.2883
This presentation can also be found under Meter Conferences and Schools on the TESCO web site: www.tescometering.com