## Slide 1
21st Century Power Measurements
Prepared by Bill Hardy, TESCO
The Eastern Specialty Company
For North Carolina Electric Meter School
Management Session
Wednesday, June 27, 2018 at 1:45 p.m.

## Slide 2: Then – Now – Tomorrow? Meters
First Meters mid-1890s
Westinghouse 1905
2005
2006
2014
2025 ???

## Slide 3: Then – Now – Tomorrow? Meters??

## Slide 4: Then – Now – Tomorrow? Loads
YESTERDAY
TODAY

## Slide 5: Then – Now – Tomorrow? Loads
TODAY

## Slide 6: Then – Now – Tomorrow? Communications
THEN
NOW

## Slide 7: Why do these changes matter?
Changes to our loads have changed the basic computations of metering.
When loads were linear the power triangle was all we needed to know

## Slide 8: Why do these changes matter?
Today’s loads look more like these
Chart: Current for CCFL Light Bulb

## Slide 9: Why do these changes matter?
Today’s loads look more like these
Chart: Variable Speed Motor

## Slide 10: Why do these changes matter?
Today’s loads look more like these
Chart: Current for Switching Power Supply

## Slide 11: Standards Changes
New Revision of C12.20 just Published
  Polyphase meters tested using polyphase
    Recommended now, required 2020
  Unbalanced load testing required
  Full harmonic testing required
  0.1% Accuracy Class added
  Specific call out of Non-Blondel applications where C12.20 does not apply
  Detailed requirements and specs for test outputs added

## Slide 12: Harmonic Load Waveforms
ANSI C12.20 now addresses harmonic waveforms
Chart: 
Chart: 
Chart: 
Chart: 
Chart: 
Chart: Voltage

## Slide 13: Standards Changes
New Revision of C12.20 just Released
  Tighter reference condition performance specifications
  When using polyphase loading meters must be tested in each configuration used

## Slide 14: Standards Changes
New Revision of C12.1
  0.5% Accuracy Class added
  Testing required for unbalanced loads
  Testing required under unbalanced conditions
  Tighter reference performance requirements
  Bi-directional energy flow testing
  Extensive update on in service testing

## Slide 15: Standards Changes
New Revision of C12.10 in 2015
  Accuracy tests moved here from C12.1
  Much broader safety requirements
  Coordinated effort with UL2735
    Utilities exempt from UL2735 but only if they own and install the equipment

## Slide 16: Standards Changes
New Revision of C12.9 in 2014
  Full specifications for test plugs included in standard
    Ensures safe operation between all switches and all plugs
    previously some combinations produced safety hazards
  New barrier requirements between switch elements

## Slide 17: Standards Changes
Communications Standards
  New C12.19 which replaces C12.18 and C12.19 is in ballot process
    Major changes – major controversy has held up approval for two years
    Standard will still not guarantee inter-operability

## Slide 18: ANSI C12.31
At the moment there is no non-sinusoidal definition for VA
New ANSI Standard coming very soon
C12.31

## Slide 19: New Definitions
RMS Voltage
Basic Definition
Time Domain
Frequency Domain
Waveform

## Slide 20: New Definitions
RMS Current
Basic Definition
Time Domain
Frequency Domain
Waveform

## Slide 21: New Definitions
Active Power
Basic Definition
Time Domain
Frequency Domain

## Slide 22: New Definitions
Apparent Power
Basic Definition
Time Domain
Frequency Domain

## Slide 23: Next Generation Standards
ANSI C12.46
  New standard in development to replace C12.1 and C12.20
  Structured like OIML IR-46
  A true digital age standard
  Applies to ALL energy measurements
    Watts, VA and VAR
    Contains precise definitions for the quantities based on digitally sampled waveforms

## Slide 24: Next Generation Standards
ANSI C12.46
  Covers ALL waveform types
    sinusoidal, harmonic, time varying
  Defines the meter as everything under the cover
    If there is auxiliary functions in the meter they must be fully operational during accuracy testing
    If a option is added to a meter, it must be tested with the option running to remain qualified

## Slide 25: Next Generation Standards
ANSI C12.46
  View of accuracy changes
    Currently changes with respect to reference
    New approach is absolute error
Philosophy of C12.46 – When a meter is claimed to be of a specific accuracy class, for example , AC 0.2%, then it’s accuracy under all commonly occurring conditions should be within ±0.2% maximum error.

## Slide 26: What does the Future Hold
Over the next FEW years metering may have a whole new meaning
Do these look like meters to you?

## Slide 27: What does the Future Hold
Each has an embedded revenue meter
They may NOT be regulated by the PSC’s.
METER

## Slide 28: Questions?
Bill Hardy
TESCO – The Eastern Specialty Company
Bristol, PA
215-785-2338
This presentation can also be found under Meter Conferences and Schools on the TESCO web site: www.tescometering.com